## Slide 1: GSM BASED INDUSTRIAL FIRE DETECTION AND FIRE CONTROL

## Slide 2: Problem statement
Because of the speed and totality of the destructive forces of fire, it constitutes one of the more serious threats.
Vandalized or environmentally damaged structures can be repaired and stolen objects recovered. Items destroyed by fire, however, are gone forever.
An uncontrolled fire can obliterate an entire factory contents within a few minutes and completely burn out a building in a couple hours

## Slide 3: Components required
ARDUINO UNO
FIRE SENSOR
BUZZER
WATER PUMP
RELAY(switching device)
ARDUINO IDE software
SOFTWARE USED :

## Slide 4: Technical specifications of arduino
Microcontroller | Atmega328p – 8 bit AVR family microcontroller
Operating Voltage | 5V
Recommended Input Voltage | 7-12V
Input Voltage Limits | 6-20V
Analog Input Pins | 6 (A0 – A5)
Digital I/O Pins | 14 (Out of which 6 provide PWM output)
DC Current on I/O Pins | 40 Ma
DC Current on 3.3V Pin | 50 Ma
Flash Memory | 32 KB (0.5 KB is used for Bootloader)
SRAM | 2 KB
EEPROM | 1 KB
Frequency (Clock Speed) | 16 MHz

## Slide 5: Flame sensor (LM393)
Working Principle
This sensor/detector can be built with an electronic circuit using a receiver like electromagnetic radiation. This sensor uses the infrared flame flash method, which allows the sensor to work through a coating of oil, dust, water vapor, otherwise ice.

## Slide 6: CONCLUSION
The prototype of the proposed system was implemented and it proved to be efficient fire detection and controlling the fire also alerting wihth buzzer.
This prototype will monitor the industry 24/7 and when fire accident occurs it protects it